SECTION 01 41 00

REGULATORY REQUIREMENTS

- GENERAL

      - RELATED DOCUMENTS

        - Construction Drawings, Technical Specifications, Addenda, and general provisions of the Contract, including Contract General Conditions and Supplementary General Conditions and other Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section includes:  Certain Codes and Standards and relevant requirements applicable to the Work required under this Contract.

1.3 	AUTHORITY AND PRECEDENCE OF CODES, ORDINANCES AND STANDARDS

A.	Authority:  All codes, ordinances and standards referenced in the Drawings and Specifications shall have the full force and effect as though printed in their entirety in the Specifications.

B.	Precedence:

1.	Where specified requirements differ from the requirements of applicable codes, ordinances and standards, the more stringent requirements shall take precedence.

2.	Where the Drawings or Specifications require or describe products or execution of better quality, higher standard or greater size than required by applicable codes, ordinances and standards, the Drawings and Specifications shall take precedence so long as such increase is legal.

3.	Where no requirements are identified in the Drawings or Specifications, comply with all requirements of applicable codes, ordinances and standards of authorities having jurisdiction.

  - STATUTORY AND JURISDICTIONAL REGULATIONS

        - Perform the Work in accordance with Applicable Code Requirements and applicable requirements of all other regulatory agencies including, but not limited to, the following:

Modify list below with applicable dates and additional regulatory requirements.

          - State of California Code of Regulations (CCR), Title 24 State Building Standards, 2013.

          - California State Fire Marshall.

          - Local City Fire Department - Public Assembly Unit (based on project location).

          - Division of the State Architect.

          - Trustees Designated Plan Check Authority (P.C. Associates).

          - Trustees Designated Seismic Peer Review Authority.

        - Performance of the Work shall also comply with applicable requirements of California Code of Regulations (CCR) as follows:

Confirm current, applicable edition of Title 19 and Title 22.

          - Title 19 - Public Safety.

          - Title 22 - Social Security.

        - Unless otherwise specified, specific references to codes, regulations, standards, manufacturers' instructions, or requirements of regulatory agencies, when used to specify requirements for materials or design elements, shall mean the edition of each in effect as identified in the Contract Documents.

        - Contractor shall maintain copies of regulatory reference manuals and code books on the job site for reference during planning, submittal processing and field installation of specific work.

        - Contractor and each subcontractor or supplier engaged in construction of the project shall be thoroughly familiar with the codes and regulations applicable to their specific construction activities. Contractor's responsibility for familiarity with applicable codes and regulations shall extend to the entire scope of work specified in the Contract Documents.

  - CONFLICTS

    - Unless otherwise directed by the Architect, if a conflict exists between referenced regulatory requirements, comply with the one establishing more stringent requirements.

    - Unless otherwise directed by the Architect, if a conflict exists between referenced regulatory requirements and the Contract Documents, comply with the more stringent requirements.

    - Submittals

      - Submit to the University Representative copies of all permits, licenses, certifications, inspection reports, jurisdictional settlements, notices, receipts for fee payments, judgments, correspondence, records and other documentation established and/or required in conjunction with compliance with specified standards and regulations. Maintain copies of the aforementioned documents at the project site at all times.

- PRODUCTS (Not Used)

- EXECUTION (Not Used)

END OF SECTION