SECTION 01 60 00

PRODUCT REQUIREMENTS

- GENERAL

      - RELATED DOCUMENTS

        - Construction Drawings, Technical Specifications, Addenda, and general provisions of the Contract, including Contract General Conditions and Supplementary General Conditions and other Division 01 Specification Sections, apply to this Section.

      - SECTION INCLUDES

        - General requirements for products used for the Work, including:

          - General characteristics of products

          - Product options

          - System completeness

          - Transportation and handling requirements

          - Storage and protection of products

          - Installation of products.

      - RELATED REQUIREMENTS

        - Section 01 25 00 - Substitution Procedures:  Requirements for product substitutions.

        - Section 01 33 00 - Submittal Procedures:  Requirements applicable to submittals for "or equal" and substitute products.

      - PRODUCT DELIVERY, STORAGE AND HANDLING

        - Deliver, store, and handle products according to manufacturer's recommendations, using means and methods that will prevent damage, deterioration, and loss, including theft.

          - Schedule delivery to minimize long-term storage at site and to prevent overcrowding of construction spaces.

          - Coordinate delivery with installation time to assure minimum holding time for items that are flammable, hazardous, easily damaged, or sensitive to deterioration, theft, and other losses.

          - Deliver products to site in undamaged condition in manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting, and installing.

          - Inspect products upon delivery to ensure compliance with Contract Documents and to ensure that products are undamaged and properly protected.

          - Store products at site in manner that will facilitate inspection and measurement of quantity or counting of units.

          - Store products subject to damage by elements above ground, under cover in weather-tight enclosure, with ventilation adequate to prevent condensation.  Maintain temperature and humidity within range required by manufacturer's instructions.

      - PRODUCT SELECTION

        - General: Comply with requirements of the Contract General Conditions.

        - Product Selection Procedures: Contract Documents and governing regulations govern product selection.  Procedures governing product selection include following:

          - General: Comply with requirements of the Contract General Conditions.

          - Products Specified by Reference Standards or Description Only: Any product meeting those standards or description.

          - Products Specified by Indicating Basis for Design:  Design and approval is based on systems, products, and assemblies of manufacturer indicated.  Equivalent systems, products, and assemblies of other named manufacturers may be used, however, Contractor is responsible for additional approvals required, for coordination with remainder of Contract Documents, and for costs of redesign or recalculation required. Comply with Section 01 25 00 to obtain approval for use of unnamed product.

          - Products Specified by Naming One or More Manufacturers: Products of named manufacturers meeting Specifications.  Submit request for substitution for manufacturer not specifically named.

            - Products of acceptable manufacturers are subject to requirements of Specifications for specified product.

          - Products Specified by Naming One or More Manufacturers with No Known Equals: Products of named manufacturers meeting Specifications: no options, no substitutions.

            - Products of acceptable manufacturers are subject to requirements of Specifications for specified product.

          - Descriptive Specification Requirements: Where Specifications describe product or assembly, listing exact characteristics required, with or without use of brand or trade name, provide product or assembly that provides characteristics and otherwise complies with Contract requirements.

          - Performance Specification Requirements: Where Specifications require compliance with performance requirements, provide products that comply with these requirements and are recommended by manufacturer for application indicated.

            - Manufacturer's recommendations may be contained in published product literature or by manufacturer's certification of performance.

          - Compliance with Standards, Codes, and regulations: Where Specifications only require compliance with imposed code, standard, or regulation, select product that complies with standards, codes, or regulations specified.

          - Visual Matching: Where Specifications require matching established Sample, Architect's decision will be final on whether proposed product matches satisfactorily.

            - Where no product available within specified category matches satisfactorily and complies with other specified requirements, comply with provisions of Section 01 25 00 for selection of matching product in another product category.

          - Visual Selection: Where specified product requirements include phrase "... as selected from manufacturer's standard colors, patterns, textures..." or similar phrase, select product and manufacturer that complies with other specified requirements.  Architect will select color, pattern, and texture from product line selected.

- PRODUCTS (Not Used)

- EXECUTION

      - INSTALLATION OF PRODUCTS

        - Installation of Products:

          - Contractor shall comply with manufacturer's instructions and recommendations for installation of products, except where more stringent requirements are specified and necessary due to Project conditions or are required by authorities having jurisdiction.

          - Contractor shall anchor each product securely in place, accurately located and aligned with other Work.

          - Contractor shall clean exposed surfaces and provide protection to ensure freedom from damage and deterioration at time of Contract Completion review.  Contractor shall refer to additional requirements specified in Section 01 74 00 - Cleaning Requirements.

END OF SECTION