SECTION 01 78 36

WARRANTIES

- GENERAL

      - RELATED DOCUMENTS

        - Construction Drawings, Technical Specifications, Addenda, and general provisions of the Contract, including Contract General Conditions and Supplementary General Conditions and other Division 1 Specification Sections, apply to this Section.

      - SECTION INCLUDES

        - This Section specifies general administrative and procedural requirements for warranties and bonds required by the Contract Documents, including manufacturers’ standard guaranties, warranties on products and special warranties.

        - Refer to the General conditions for terms of the Contractor’s special warranty of workmanship and materials.

        - Specific requirements for warranties for the work and products and installations that are specified to be guaranteed or warranted are included in the individual Sections of Divisions 2 through 16.

        - Certifications and other commitments and agreements for continuing services to the University are specified elsewhere in the Contract Documents.

        - Disclaimers and Limitations: Manufacturer’s disclaimers and limitations on product warranties do not relieve the Contractor of the warranty on the work that incorporates the products, nor does it relieve suppliers, manufacturers, and subcontractors required to countersign special warranties with the Contractor.

      - RELATED REQUIREMENTS

        - Section 01 77 00 - Contract Closeout Procedures:  General requirements for closeout of the Contract.

        - Section 01 78 23 - Operation and Maintenance Data:  Operating and maintenance data binders, to include copies of warranties and bonds.

        - Product Specification Sections in Divisions 2 through 33:  Special Project warranty requirements for specific products or elements of the Work; commitments and agreements for continuing services to University.

      - DEFINITIONS

        - The terms product guaranty or warranty are synonymous for this Project and shall be taken to mean the required guaranty or warranty required by the Contract General Conditions or by the Contract Drawings or Specifications.

        - Standard Product Warranties are pre-printed written warranties published by individual manufacturers for particular products and are specifically endorsed by the manufacturer to the University.

        - Special Warranties are written warranties required by or incorporated in the Contract Documents, either to extend time limits provided by standard warranties or to provide greater rights for the University. Special Warranties shall be in writing.

      - WARRANTY REQUIREMENTS

        - Related Damages and Losses: When correcting warranted work that has failed, remove and replace other work that has been damaged as a result of such failure or that must be removed and replaced to provide access for correction of warranted work.

        - Reinstatement of Warranty: When work covered by a warranty has failed and been corrected by replacement or rebuilding, reinstate the warranty by written endorsement. The reinstated warranty shall be equal to the original warranty with an equitable adjustment for depreciation.

        - Replacement Cost: Upon determination that work covered by a warranty has failed, replace or rebuild the work to an acceptable condition complying with requirements of Contract Documents. The Contractor is responsible for the cost of replacing or rebuilding defective work regardless of whether the University has benefited from use of the work through a portion of its anticipated useful service life.

        - University's Recourse: Written warranties made to the University are in addition to implied warranties, and shall not limit the duties, obligations, rights and remedies otherwise available under the law, nor shall warranty periods be interpreted as limitations on time in which the University can enforce such other duties, obligations, rights, or remedies.

          - Rejection of Warranties: The University reserves the right to reject warranties and to limit selections to products with warranties not in conflict with requirements of the Contract Documents.

        - The University reserves the right to refuse to accept work for the Project where a special warranty, certification, or similar commitment is required on such work or part of the work, until evidence is presented that entities required to countersign such commitments are willing to do so.

      - SUBMITTALS

        - Submit a copy of the Standard or Special written warranties to the University for each Specification Section as part of the complete submittal package for review and approval by the University.

        - Submit written warranties to the University prior to the date of acceptance by the University. Submittal of the project Guarantees and Warranties is a requirement precedent to the filing of the Notice of Completion by the University.

          - When a designated portion of the work is completed and occupied or used by the University, by separate agreement with the Contractor during the construction period but prior to acceptance of the entire project, Contractor shall submit properly executed warranties to the University within fifteen days of occupancy or use of that designated portion of the work.

        - When a special warranty is required to be executed by the Contractor, or the Contractor and a subcontractor, supplier or manufacturer, prepare a written document that contains appropriate terms and identification, ready for execution by the required parties. Submit a draft to the University for approval prior to final execution.

        - Form of Submittal: At Final Completion, compile two copies of each required warranty and bond properly executed by the Contractor, or by the Contractor, subcontractor, supplier, or manufacturer. Organize the warranty documents into an orderly sequence based on the table of contents of the Project Manual. Use guarantee form at the end of this Section.

        - Bind warranties and bonds in heavy-duty, commercial quality, durable 3-ring vinyl covered loose-leaf binders, thickness as necessary to accommodate contents, and sized to receive 8-1/2-inch by 11-inch paper.

          - Provide heavy paper dividers with celluloid covered tabs for each separate warranty. Mark the tab to identify the product or installation. Provide a typed description of the product or installation, including the name, of the product, and the name, address and telephone number of the installer.

          - Identify each binder on the front and the spine with the typed or printed title "WARRANTIES & GUARANTEES ", the Project title or name, and the name of the Contractor.

          - When operating and maintenance manuals are required for warranted construction, provide additional copies of each required warranty, as necessary, for inclusion in each required manual.

- PRODUCTS (Not Used)

- EXECUTION (Not Used)

END OF SECTION